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The environmental review, consultation, and other actions required by applicable Federal environmental laws for this project are being, or have been, carried-out by ODOT pursuant to 23 U.S.C. 327 and a Memorandum of Understanding dated December 11, 2015, and executed by FHWA and ODOT.
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	Project Sponsor
	Swanton, Village of


	ODOT District
	2


	Funding Source
	Federal


	Private Funding:
	No


	
	


Project Description: 
The Village of Swanton proposes to replace the existing structure (SFN 2260040) along Garfield Avenue over Ai Creek in the Village of Swanton, Fulton County. The existing structure is a 25-foot wide single span steel beam on concrete wall type abutments built in 1916. It will be replaced with a 36-foot wide single span concrete prestressed composite box beam superstructure on wall type abutments. The new structure will have 2 12-foot lanes; and 6-foot sidewalks on each side.
Garfield Avenue is functionally classified as a local street in the project area.
The project will required right-of-way from several adjacent properties including Memorial Park. Utility relocations will be required for overhead and underground utilities. 
The Section 4(f) Park impacts were determined to be de minimis due to the new right of way. Park users and village park officials have been notified and coordination is complete. 
The project will have minor impacts to Ai Creek and surrounding suitable wooded habitat for several federally listed bat species. All trees will be cut during the winter so that the impacts on the bats are minimal. The project meets the criteria fro USACE Section 404 Nationwide Permit (NWP) #3 (Maintenance) and #12 (Utility Line Activities). Coordination has taken place with the local floodplain coordinator. A floodplain permit will be required. ODNR has requested that a mussel survey and relocation be performed prior to the start of construction. All other conditions of the MOA between ODOT, ODNR, and USFWS have been met (documentation in the project file).
There are no historically significant resource or hazardous material impacts due to the project.
The project will require closure and detour of Garfield Avenue for approximately4 months. The adjacent property owners and local officials have been notified on the closure. A short pedestrian detour will also be established.
Construction is scheduled for 2018 and will last approximately 5months overall.
This document was approved using Stage 3 Plans.
	STIP Reference #
	FY 2018-2021 SLI 16


	Select the appropriate project type:
	(28) Bridge rehabilitation, reconstruction, or replacement or the construction of grade separation to replace existing at-grade railroad crossings, if the actions meet the constraints in 23 CFR 771.117(e). Examples include: Railroad projects that close or relocate at-grade crossings


In accordance with 23 CFR 771.117(e), the proposed project cannot be processed as a C2 CE, if it involves -
1. a. Acquisition of more than a minor amount of right-of-way
2. b. Residential or non-residential displacements
3. c. A Coast Guard, Individual Section 404 and/or a Section 10 permit
4. d. A Section 106 finding of Adverse Effect
5. e. A Section 4(f) Programmatic or Individual Evaluation
6. f. A finding of May Affect, Likely to Adversely Affect to Threatened and Endangered Species
7. g. Construction of temporary access, or the closure of existing road, bridge, or ramps, that would result in major traffic disruptions
8. h. Changes in access control
9. i. Floodplain encroachment other than functionally dependent uses (e.g., bridges, wetlands) or actions that facilitate open space use (e.g., recreational trails, bicycle and pedestrian paths)
10. j. Construction activities in, across or adjacent to a river component designated or proposed for inclusion in the National System of Wild and Scenic Rivers
11. k. No minor public or agency controversy on environmental grounds (no opposition from any organized groups or agencies and no unresolved environmental coordination)
12. l. If an EJ Analysis Report is required, the project must be processed as a D-level CE or higher level document

For certification purposes, documentation is required to illustrate no significant impacts will occur to the following environmental resources and that no unusual circumstances exist that would warrant a higher level of NEPA document. Upload all supporting documentation to the project file.
	Waterways:
	Present; No Coast Guard, Individual 404, and/or Section 10 Permit required


	Waterways Permit Type:
	Nationwide Permit


	Waterways Permit Approval Date
	08/11/2017


	Isolated Wetland Permit
	No


	Endangered Species:
	Present; No finding of May Affect, Likely to Adversely Affect


	Endangered Species - Coordination
	May Affect, Not Likely to Adversely Affect


	Endangered Species - Coordination Date
	12/28/2016


	Endangered Species - Critical Habitat Present/Impacted
	Indiana bat

	
	Northern long-eared bat


	Endangered Species - Other Critical Habitat Present/Impacted:
	No


	100-Year Floodplain:
	Encroachment Within the SFHA is a Functionally Dependent Use


	EO 11988/NFIP Coordination and Documentation Completed:
	Yes


	NFIP Local Floodplain Coordinator Notification Date:
	10/07/2016


	Section 4(f):
	Present; No Programmatic Evaluation or Individual Evaluation Required


	Section 4(f) Determination:
	de minimis


	Section 4(f) Determination Date - de minimis
	08/11/2017


	Section 6(f):
	Not present


	Cultural Resources:
	Present; No Finding of Adverse Effect


	Cultural Resources Coordination:
	Minimum Potential to Cause Effect - Appendix B


	Cultural Resources Coordination - ODOT Approval Date:
	11/21/2016


Projects that meet C2 criteria are not anticipated to have impacts to the following environmental resources. If resources are present, documentation is only required if there is a potential for impacts.
	Air Quality:
	Studies Not Required


	Air Quality - Coordination with OES:
	No


	Noise:
	Studies Not Required


	Noise Coordination - OES Approval Date:
	08/17/2017


	Hazardous Materials - ESA Screening Conducted
	Yes


	Hazardous Materials - OES Approval Date:
	12/22/2016


	Phase I ESA Warranted Based on Coordination with OES:
	No Further Studies Warranted


	Farmland:
	Urbanized Area; No Impacts in Accordance With the Farmland MOU and 7 CFR 658


	Scenic Rivers
	No National Wild and Scenic River Within 1000 Feet of the Proposed Project Area


Projects that meet C2 criteria must be in accordance with ODOT's EJ Guidance and activities conducted for Public Involvement are commensurate to the project's type and scope of work.
	Environmental Justice:
	Does Not Exceed EJ Guidance Criteria; No EJ Analysis Report Required and No EJ Issues Raised During Public Involvement


	Public Involvement:
	Minimum PI Requirements Met; No Minor Public or Agency Controversy on Environmental Grounds


	Environmental Commitments
	Yes


[bookmark: _Toc256000001]Environmental Commitments, 
1. Notes shall be placed in the plans by the Village of Swanton directing the contractor to comply with the notification requirement timeframes outlined in the Traffic Engineering Manual Part 642-8 and 642-58 to ensure compliance with Federal notification requirements.
2. Adequate erosion and sediment controls shall be implemented and maintained throughout construction by the contractor and Village of Swanton, as required.
3. Appropriate local detour routes and accommodations shall be made by Village of Swanton and the Contractor for any local special events or festivals prior to the start of the event using appropriate signage.
4. If required by local ordinance, a construction noise plan note will be added to the plans by Village of Swanton and implemented by the contractor during construction.
5. No trees shall be removed under this project from April 1 through September 30.  The project is located within the known habitat ranges of the federally listed and protected Indiana bat and northern long-eared bat. All necessary tree removal shall occur from October 1 through March 31.  This requirement is necessary to avoid and minimize impacts to these species as required by the Endangered Species Act.  For the purposes of this note, a tree is defined as a live, dying, or dead woody plant, with a trunk three inches or greater in diameter at a height of 4.5 feet above the ground surface, and with a minimum height of 13 feet. 
6. If a floodplain permit is required, it shall be acquired by the Village of Swanton prior to any work within the floodplain and the conditions shall be followed throughout construction by the contractor.
7. The project requires a waterway permit for work within Ai Creek. All conditions of the permit shall be followed throughout construction by the contractor. 
8. Pedestrian access shall be maintained through the construction zone at all times by the Village of Swanton and the contractor.  
9. The Village of Swanton shall ensure that a mussel survey and, if necessary, relocation shall occur at the project site (FUL-Garfield Ave over Ai Creek) in accordance with ODNR and USFWS protocols.  No in-stream work shall occur prior to the mussel survey/relocation.
10. Access to Memorial Park will be maintained at all times during construction activities via South Main Street during the detour of Garfield Avenue

11. Temporary construction fencing will be installed along proposed construction limits prior to the start of construction activities to protect the existing 4(f) property and the public

12. Appropriate signage will be installed to alert users of the closure and to direct users to the South Main Street access
13. No staging and/or storage of construction equipment will take place outside of the proposed construction limits within the park property boundaries

14. The Contractor shall be required to coordinate the construction schedule with the Village of Swanton
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1. Notes shall be placed in the plans by the Village of Swanton directing the contractor to comply with the notification requirement timeframes outlined in the Traffic Engineering Manual Part 642-8 and 642-58 to ensure compliance with Federal notification requirements.
2. Adequate erosion and sediment controls shall be implemented and maintained throughout construction by the contractor and Village of Swanton, as required.
3. Appropriate local detour routes and accommodations shall be made by Village of Swanton and the Contractor for any local special events or festivals prior to the start of the event using appropriate signage.
4. If required by local ordinance, a construction noise plan note will be added to the plans by Village of Swanton and implemented by the contractor during construction.
5. No trees shall be removed under this project from April 1 through September 30.  The project is located within the known habitat ranges of the federally listed and protected Indiana bat and northern long-eared bat. All necessary tree removal shall occur from October 1 through March 31.  This requirement is necessary to avoid and minimize impacts to these species as required by the Endangered Species Act.  For the purposes of this note, a tree is defined as a live, dying, or dead woody plant, with a trunk three inches or greater in diameter at a height of 4.5 feet above the ground surface, and with a minimum height of 13 feet. 
6. If a floodplain permit is required, it shall be acquired by the Village of Swanton prior to any work within the floodplain and the conditions shall be followed throughout construction by the contractor.
7. The project requires a waterway permit for work within Ai Creek. All conditions of the permit shall be followed throughout construction by the contractor. 
8. Pedestrian access shall be maintained through the construction zone at all times by the Village of Swanton and the contractor.  
9. The Village of Swanton shall ensure that a mussel survey and, if necessary, relocation shall occur at the project site (FUL-Garfield Ave over Ai Creek) in accordance with ODNR and USFWS protocols.  No in-stream work shall occur prior to the mussel survey/relocation.
10. Access to Memorial Park will be maintained at all times during construction activities via South Main Street during the detour of Garfield Avenue

11. Temporary construction fencing will be installed along proposed construction limits prior to the start of construction activities to protect the existing 4(f) property and the public

12. Appropriate signage will be installed to alert users of the closure and to direct users to the South Main Street access
13. No staging and/or storage of construction equipment will take place outside of the proposed construction limits within the park property boundaries

14. The Contractor shall be required to coordinate the construction schedule with the Village of Swanton
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	Form Preparer
	Libby Rushley
Lawhon AND Associates
1441 King Avenue, Columbus OH 43212

lrushley@lawhon-assoc.com
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	Approved & Electronically Signed By:
	Approval Date:


	Phoenix Golnick Neal ENV SPEC 2
	September 28, 2017

	Phoenix Golnick Neal ENV SPEC 2
	September 28, 2017
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[bookmark: _Toc256000009]Section 4(f)
Determination Request Form for Recreational Properties.pdf
OES Recreational 4(f) Determination.pdf
[bookmark: _Toc256000010]General
County Map.pdf
Aerial Map.pdf
USGS Quadrangle Topographical Map.pdf
Stage 1 Design.pdf
Stage 3 Design.pdf
Detour Notification Letter.pdf
Correspondence with Emergency and Public Services.pdf
Right of Way Plan Sheets.pdf
Structure Type Study.pdf
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Screening.pdf
OES Recommendations - Screening.pdf
Screening Revised to add ROW plans.pdf
Revised ESA Screening.pdf
RMR Study Area Map.pdf
[bookmark: _Toc256000012]Cultural Resources
Section 106 Scoping Request.pdf
OES Approval - Minimum Potential to Cause Effects - B.pdf
Project Study Area Map.pdf
[bookmark: _Toc256000013]Ecological
Level 1 ESR FUL-Garfield Ave PID 103787.pdf
Coordination with USFWS.pdf
Coordination with ODNR.pdf
Level 1 ESR Revised to add ROW plans.pdf
Consult Form FUL-Garfield Ave PID 103787.pdf
ODNR Comments.pdf
ODOT Disposition of Agency Comments.pdf
[bookmark: _Toc256000014]Other Resources
Water Source Protection Area Map.pdf
Residential Well Map.pdf
Lucas County Functional Class Map.pdf
[bookmark: _Toc256000015]Environmental Justice
Census Mapping.pdf
Underserved Populations Documentation.pdf
[bookmark: _Toc256000016]Public Involvement
Property Owner Notification Letter.pdf
[bookmark: _Toc256000017]Permits
FEMA FIRM.pdf
Permit Determination Request.pdf
No Rise Certification - ODOT Form LD-50.pdf
Letter of Compliance - ODOT Form LD-51.pdf
Hydrologic and Hydraulic Calculations.pdf
OES Permit Determination.pdf
Statement of Findings.pdf
Nationwide Permit.pdf
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